## Slide 1
MX1
MX2
AH
HC1
HC2
F
TZ
BL
+
-
+
-
XM
XH
XC
+
-
0
1
2
3
3
4
5
6
7
7
7
8
9
𝛾
Heat Exchanger

## Slide 2
XM
XH
XC
0
1
s
4
3

## Slide 3
Elementary Processes
Heating in Heat Exchanger
Mixing in Mixing Box
Heating Coil
Adiabatic Humidification
Mixing process in Humidifier
Thermal Zone
Building
Cooling in Heat Exchanger
Mixing process in Heat Exchanger
Controllers
Indoor humidity ratio
Indoor temperature
Unknowns
Air states (θi, ωi)
Sensible Heat (J)
Latent Heat (J)
XH
MX1
HC1
AH
MX2
TZ
BL
XC
XM
1,…,4, 8, 9
Legend
Given
Outside air states (θ0, ω0)
Outdoor dry air mass flow rate (kg/s)
Recirculated dry air mass flow rate (kg/s)
By-pass factor of the humidifier
By-pass factor of the heat exchanger
Indoor air temperature set point
Indoor humidity ratio set point
Supply air temperature set point
0
𝛾